Bidding Requirements, Contract Forms and Conditions of the Contract

# Supplemental General conditions

## Section 00810

THIS SECTION MUST BE EDITED BY PROJECT MANAGER TO MEET SPECIFIC PROJECT NEEDS.  Delete this and all other instruction boxes prior to final printing.

The Supplemental General Conditions contained herein amend or supplement the General Conditions, Section 00700.

ARTICLE 1 - DEFINITIONS

Include the following modification of 1.20 in all Contracts:

Add the following definition:

“1.20	Engineer/Architect (E/A): Add the following:

Name:

Address:                                     ”

If Project is part of Rolling Owner Controlled Insurance Program (ROCIP), include the following paragraphs 1.51, 1.52, 1.53 & 1.54; otherwise delete.

Add the following definitions:

“1.51	Insurance Cost Form - Section 00425 of the Contract, submitted by CONTRACTOR with its Bid, used to notify OWNER of insurance costs not included in CONTRACTOR’s Bid as a result of the OWNER providing insurance through ROCIP.

1.52	Payment Form - A form used by the ROCIP Administrator to notify the OWNER’s Project Manager that all required insurance information and documentation has been received from CONTRACTOR.

1.53	OWNER’s ROCIP Administrator - The insurance broker responsible for administering the OWNER’s Rolling Owner Controlled Insurance Program (ROCIP).

1.54	Rolling Owner Controlled Insurance Program (ROCIP) - A specialized insurance program provided by OWNER for specifically identified Capital Improvements Program (CIP) projects."

If If appropriate to the Project, include the following paragraph 1.55; otherwise delete.

Add the following definition:

"1.55	Commissioning Authority or Agent - A consultant retained by the OWNER charged with supporting E/A in monitoring the Work for conformance with the Contract Documents, and with assisting in the facility's start-up and testing as a member of the commissioning team."

If Project is selected for participation in the Super Prompt Payment Program, include the following paragraph 1.56; otherwise delete.

Add the following definition:

"1.56	Super Prompt Payment Program - The City program, which applies to certain projects with a construction cost estimate greater than $2 million and requires CONTRACTOR to submit bimonthly payment requests to OWNER and to pay eligible Subcontractors bimonthly, when such eligible Subcontractors request the Super Prompt Payment option and those eligible Subcontractors have performed Work on the Project during the current pay period."

If theIf the Project uses Allowances, include the following paragraph 1.57 (renumber as needed); otherwise delete.

Add the following definition:

"1.57	Allowance - Allowance is defined as "a not-to-be-exceeded amount”, either individually or in the aggregate, which is established between the Owner and the Contractor as part of its Bid Proposal when the precise scope of a particular line item(s) has not been defined to a level which is adequate for the Contractor to provide a definitive line item pricing for that particular scope of Work.  The use of any Allowances by the Contractor will be subject to the Owner’s sole approval and it is the Owner’s intent to minimize the use of Allowances to the fullest extent possible.  For any Allowances which the Owner allows the Contractor to use, the following rules shall apply: (i) Allowances shall cover the cost to the Contractor of the Cost of Work; (ii) Contractor’s overhead and profit associated with the stated Allowance shall be included in the Allowance; and (iii) upon completion of the portion of the Work subject to an Allowance, the Contract Amount for that portion of the Work will be adjusted based upon the approved actual cost of the Work, which will not exceed the approved aggregate amount of the Allowances.”

ARTICLE 2 - PRELIMINARY MATTERS

If Project is part of Rolling Owner Controlled Insurance Program (ROCIP), include the following modification of 2.1; otherwise delete.

  - Delivery of Agreement, Bonds, Insurance, etc.: Add the following:

“2.1.1 	CONTRACTOR shall complete enrollment in the Rolling Owner Controlled Insurance Program (ROCIP) within five (5) Calendar Days after written notification of award of Contract.”

Include the following modification of 2.2 for all projects.

2.2    Copies of Documents:  Delete 2.2 and replace with the following:

“2.2 	Copies of Documents:  OWNER shall furnish to CONTRACTOR one (1) Project Manual with original signatures, one (1) copy of the executed Project Manual, one (1) set of Drawings and one (1) copy of the Contract Documents in .pdf format.  Additional copies will be furnished, upon request, at the cost specified in the Supplemental General Conditions.”

If desired, include the following modification of 2.2; otherwise delete:

2.2	Copies of Documents: Add the following:

"Additional copies of the Project Manual and drawings may be obtained from 							 on the following basis:

Full or partial set of Drawings	$		 per sheet.

Each set of Project Manual	$		 each."

If desired for Lump Sum Contracts, include one of the following revisions of 2.4.2.6; delete the one(s) not used.

  - Before Starting Construction:

Delete 2.4.2.6 and replace with the following (changes to the original text are identified by underlining):

“.6	a preliminary schedule of values for all of the Work, subdivided into component parts in sufficient detail to serve as the basis for progress payments during construction.  At a minimum, the schedule of values shall be broken out by trade and split between materials and labor.  Prices will include an appropriate amount of overhead and profit applicable to each item of Work;”

OR

Delete 2.4.2.6 and replace with the following (changes to the original text are identified by underlining):

“.6	a preliminary schedule of values for all of the Work.  This schedule of values shall be organized by Subcontractor, with each item of Work to be performed by that Subcontractor broken out under the Subcontractor’s name, and shall be subdivided in sufficient detail to serve as the basis for progress payments during construction.  At a minimum, each trade shall be split between materials and labor.  Prices will include an appropriate amount of overhead and profit applicable to each item of Work.”

2.4	Before Starting Construction:

Insert the following 2.4.2.16 in all Contracts.

Add the following:

“.16	A Construction Equipment Emissions Reduction Plan.”

ARTICLE 3 – CONTRACT DOCUMENTS: INTENT, AMENDING, REUSE

If Project receives Federal funding, include the following paragraph 3.1.3; otherwise delete.

3.1	Intent: Add the following:

"3.1.3 	Federal Aid - Assurances: To the extent that federal funding has been provided for this Contract, the federal contracting provisions set forth in Section 00810A are made a part of the Contract Documents for all purposes.  The provisions of Section 00810A are intended to supplement and will supersede and be controlling over the City’s standard 00700 General Conditions and other Contract Document provisions to the extent of any conflict with Section 00810A.  The Contractor/Bidder acknowledges and agrees that Contractor/Bidder has the obligation to comply with the attached federal-aid assurances and contract provisions.  This Section 3.1.3 will constitute the Contractor’s/Bidder’s accepted proposal and agreement with respect to the attached federal-aid assurances and contract provisions.

In the event of any ambiguity or inconsistency between the Section 00810A federal aid assurances and the Contract Documents, the federal provision will control to the extent consistent with the overall intent of the Project.  If the Contractor/Bidder has any question as to the applicability of a Section 00700 or Section 00810A provision, the Contractor/Bidder shall submit a request for information to the Owner.  The Owner will have three (3) business days in which to respond.”

ARTICLE 4 - AVAILABILITY OF LANDS; SUBSURFACE AND PHYSICAL CONDITIONS; REFERENCE POINTS

Include the following revision of 4.1 in Contracts for building projects:

4.1	Availability of Lands: Add the following:

“CONTRACTOR shall contact OWNER’s Transportation Department to obtain a Temporary Use of Right-of-Way Permit prior to beginning construction on any sidewalk/driveway or occupying any parking area/meters within the public right-of-ways.”

If necessary, include the following modification of paragraph 4.1; otherwise delete.  Pay particular interest if special provisions require “additional insured”.  See companion edit in 5.3.1.1.4.

4.1 	Availability of Lands:  Add the following:

“Field Notes and Special Provisions to Easements, where applicable, are attached to Section 00810. All Work associated with Special Provisions to Easements shall be subsidiary to the entire Bid, unless otherwise specified.

Should the actions of the CONTRACTOR, or its Subcontractors, Vendors, or Suppliers, cause the Work to be delayed to the point that the ending date of an easement has been exceeded, the CONTRACTOR shall be responsible to reimburse the OWNER for any additional costs required to extend the period of rights to the easement in order to complete the Work. This delay shall be considered to be any period of time required by the CONTRACTOR to fully and satisfactorily execute the Work that is in addition to the original Contract duration, as modified by any executed Contract change orders.”

ARTICLE 5 - BONDS AND INSURANCE

"5.3	Insurance:

Project Manager to use the following table to determine which of the insurance paragraphs are applicable to the Project. Edit out the text in paragraphs which are not applicable and identify them as "reserved". Also, edit out the table and associated legend from the final document. If work is within 50 feet of a railroad, check with the railroad for any special insurance requirements. DEFINITIONS: Governmental (Govmtl.) Functions - Projects for all departments except Austin Energy and Aviation inside Airport Operations Area (AOA). Proprietary (Propriet'y)Functions - Projects for Austin Energy. Aviation Inside AOA - Projects for Aviation Department inside AOA. ROCIP - Rolling Owner Controlled Insurance Program. LEGEND: ; Applicable Insurance Requirements.. Insurance Requirements Not Applicable, Which Should Be Edited Out.. As Req'd; Determine Whether Insurance Provisions Are Applicable.. Traditional Projects; ROCIP Projects. Paragraph; Govmtl. Functions; Govmtl. Functions w/Haz. Material; Propriet'y Functions; Aviation Inside AOA; Govmtl. Functions; Govmtl. Functions w/Haz. Material; Propriet'y Functions; Aviation Inside AOA. 5.3.1 - Contractor Provided Insurance; ; ; ; ; ; ; ; . 5.3.1.1 & all subpar. - General Reqmnts.; ; ; ; ; ; ; ; . 5.3.1.2 - Auto. Liab.; ; ; ; ; ; ; ; . .1; ; . .2; ; ; ; . .3; ; . 5.3.1.3 - Workers' Comp. & Emp. Liab.; ; ; ; ; ; ; ; . .1; ; ; ; . .2; ; ; ; . 5.3.1.4 - Gen. Liab.; ; ; ; ; ; ; ; . .1; ; . .2; ; ; ; . .3; ; . 5.3.1.5 - Bldrs. Risk; As Req'd; As Req'd; As Req'd; As Req'd; As Req'd; As Req'd; As Req'd; As Req'd. Traditional Projects; ROCIP Projects. Paragraph; Govmtl. Functions; Govmtl. Functions w/Haz. Material; Propriet'y Functions; Aviation Inside AOA; Govmtl. Functions; Govmtl. Functions w/Haz. Material; Propriet'y Functions; Aviation Inside AOA. 5.3.1.6 - Haz. Mat.; ; As Req'd; As Req'd; ; As Req'd; As Req'd. .1; ; As Req'd; As Req'd; ; As Req'd; As Req'd. .2; ; As Req'd; As Req'd; ; As Req'd; As Req'd. .3; ; As Req'd; As Req'd; ; As Req'd; As Req'd. 5.3.1.7 – Prof. Liab.; ; ; ; ; ; ; ; . 5.3.2 - Owner Controlled Insur.; ; ; ; . 5.3.2.1 - Intro.; ; ; ; . 5.3.2.2 & all subpar. - W.C. & Emp. Liab.; ; ; ; . 5.3.2.3 & all subpar. - Gen. Liability; ; ; ; . 5.3.2.4 & all subpar. - Excess Liability; ; ; ; . 5.3.2.5 & all subpar. - Gen. Provisions; ; ; ; . Section 00425 - Constr. Insurance Information Form; ; ; ; .

5.3.1	CONTRACTOR Provided Insurance

If Project is part of Rolling Owner Controlled Insurance Program (ROCIP), include the following three paragraphs of text; otherwise delete the following three paragraphs (but retain 5.3.1 heading).

CONTRACTOR shall provide insurance coverages described in paragraph(s) 5.3.1.1 and 5.3.1.2 (and 5.3.1.5 and 5.3.1.6, as required) for all Work required by the Contract through the end of the warranty period (with the exception of Builders’ Risk, which is required only until the Work is accepted by OWNER).  In addition, CONTRACTOR shall provide insurance coverages described in Paragraph(s) 5.3.1.3 and 5.3.1.4 from Substantial Completion of the Work (in accordance with Section 00700 General Conditions Paragraph 14.11) to the end of the warranty period.

Subcontractors performing Work which involves asbestos, hazardous material or pollution defined as asbestos or any other excluded contractor as described in 5.3.2.1 will not be enrolled in the Rolling Owner Controlled Insurance Program (ROCIP) and must provide insurance as specified in paragraphs 5.3.1.1 through 5.3.1.6.

In the event that the Rolling Owner Controlled Insurance Program (ROCIP) or the coverage it provides to the Project is terminated for any reason, whether prior to the start of Work or any time during the Work, upon thirty (30) days Written Notice from OWNER, CONTRACTOR shall purchase and maintain as minimum the insurance coverages described in Paragraphs 5.3.1.3 and 5.3.1.4, for all Work remaining under the Contract through the end of the warranty period.  All insurance secured by CONTRACTOR, Subcontractors and Sub-subcontractors pursuant to OWNER’s requirements under this provision shall be in accordance with Article 5 of the General Conditions and paragraph 5.3.1.1 of this section.  If CONTRACTOR is required to provide insurance as described in paragraphs 5.3.1.3 and 5.3.1.4, OWNER shall reimburse CONTRACTOR for the reasonable cost of providing the insurance described therein based upon the “Total Cost of Insurance for Base Bid” (plus total of all “Total Cost of Insurance for Alternates” selected by OWNER) as stated by CONTRACTOR in Contract Section 00425 (Insurance Cost Form) pro rated to take into account the Contract Time and Work remaining for performance of CONTRACTOR’s obligations under the Contract.

Include the following text in 5.3.1.1.1 through 5.3.1.1.13 for all projects.

5.3.1.1	General Requirements.

.1	CONTRACTOR shall carry insurance in the types and amounts indicated below for the duration of the Contract, which shall include items owned by OWNER in the care, custody and control of CONTRACTOR prior to and during construction and warranty period.

.2	CONTRACTOR must complete and forward the Certificate of Insurance, Section 00650, to OWNER before the Contract is executed as verification of coverage required below.  CONTRACTOR shall not commence Work until the required insurance is obtained and until such insurance has been reviewed by OWNER.  Approval of insurance by OWNER shall not relieve or decrease the liability of CONTRACTOR hereunder and shall not be construed to be a limitation of liability on the part of CONTRACTOR.  CONTRACTOR must also complete and forward the Certificate of Insurance, Section 00650, to OWNER whenever a previously identified policy period has expired as verification of continuing coverage.

.3	CONTRACTOR's insurance coverage is to be written by companies licensed to do business in the State of Texas at the time the policies are issued and shall be written by companies with A.M. Best ratings of B+VII or better, except for hazardous material insurance which shall be written by companies with A.M. Best ratings of A- or better.

.4	All endorsements naming the OWNER as additional insured, waivers, and notices of cancellation endorsements as well as the Certificate of Insurance shall indicate: City of Austin, Contract Management Department, P.O. Box 1088, Austin, Texas  78767.

If special provisions for easements require an additional insured (in addition to OWNER), insert the following 5.3.1.1.4.1; otherwise delete.

.1	In addition to the OWNER, <insert name of other party(ies)> shall be added as an additional insured.

.5	The "other" insurance clause shall not apply to the OWNER where the OWNER is an additional insured shown on any policy.  It is intended that policies required in the Contract, covering both OWNER and CONTRACTOR, shall be considered primary coverage as applicable.

.6	If insurance policies are not written for amounts specified below, CONTRACTOR shall carry Umbrella or Excess Liability Insurance for any differences in amounts specified.  If Excess Liability Insurance is provided, it shall follow the form of the primary coverage.

.7	OWNER shall be entitled, upon request and without expense, to receive certified copies of policies and endorsements thereto and may make any reasonable requests for deletion or revision or modification of particular policy terms, conditions, limitations, or exclusions except where policy provisions are established by law or regulations binding upon either of the parties hereto or the underwriter on any such policies.

.8	OWNER reserves the right to review the insurance requirements set forth during the effective period of this Contract and to make reasonable adjustments to insurance coverage, limits, and exclusions when deemed necessary and prudent by OWNER based upon changes in statutory law, court decisions, the claims history of the industry or financial condition of the insurance company as well as CONTRACTOR.

.9	CONTRACTOR shall not cause any insurance to be canceled nor permit any insurance to lapse during the term of the Contract or as required in the Contract.

.10	CONTRACTOR shall be responsible for premiums, deductibles and self-insured retentions, if any, stated in policies.  All deductibles or self-insured retentions shall be disclosed on the Certificate of Insurance.

.11	CONTRACTOR shall provide OWNER thirty (30) days written notice of erosion of the aggregate limits below occurrence limits for all applicable coverages indicated within the Contract.

.12	If OWNER owned property is being transported or stored off-site by CONTRACTOR, then the appropriate property policy will be endorsed for transit and storage in an amount sufficient to protect OWNER's property.

.13	The insurance coverages required under this contract are required minimums and are not intended to limit the responsibility or liability of CONTRACTOR.

Include the following 5.3.1.2 in all contracts.

5.3.1.2	Business Automobile Liability Insurance.  Provide coverage for all owned, non-owned and hired vehicles.  The policy shall contain the following endorsements in favor of OWNER:

a)	Waiver of Subrogation endorsement CA 0444;

b)	30 day Notice of Cancellation endorsement CA 0244; and

c)	Additional Insured endorsement CA 2048.

Provide coverage in the following types and amounts:

For projects involving "governmental functions" without hazardous materials:

.1	A minimum combined single limit of $500,000 per occurrence for bodily injury and property damage.  Alternate acceptable limits are $250,000 bodily injury per person, $500,000 bodily injury per occurrence and at least $100,000 property damage liability each accident.

For projects involving "governmental functions" with hazardous materials, and projects involving "proprietary functions”, coordinate amount with Risk Management:

.2	A minimum combined single limit of $<1,000,000 minimum>  per occurrence for bodily injury and property damage.

For Aviation projects inside AOA:

.3	A minimum combined single limit of $5,000,000 per occurrence for bodily injury and property damage.

For special project requirements:

.4	Reserved.

For projects within 50 feet of a railroad, or as required by the railroad, include the following revised paragraph 5.3.1.2.

Delete paragraph 5.3.1.2 in its entirety and replace with the following:

5.3.1.2	Business Automobile Liability Insurance.  Provide coverage for all owned, non-owned and hired vehicles.  The policy shall contain the following endorsements in favor of OWNER:

a)	Waiver of Subrogation endorsement CA 0444;

b)	30 day Notice of Cancellation endorsement CA 0244; and

c)	Additional Insured endorsement CA 2048.

Provide coverage in the following types and amounts:

.1      A minimum combined single limit of $2,000,000 per occurrence for bodily injury and property damage.

Include the following 5.3.1.3 in all contracts.

5.3.1.3	Workers' Compensation And Employers' Liability Insurance.  Coverage shall be consistent with statutory benefits outlined in the Texas Workers' Compensation Act (Section 401).  CONTRACTOR shall assure compliance with this Statute by submitting two (2) copies of a standard certificate of coverage (e.g. ACCORD form) to Owner's Representative for every person providing services on the Project as acceptable proof of coverage.  The Certificate of Insurance, Section 00650, must be presented as evidence of coverage for CONTRACTOR.  Workers' Compensation Insurance coverage written by the Texas Workers Compensation Fund is acceptable to OWNER.  CONTRACTOR's policy shall apply to the State of Texas and include these endorsements in favor of OWNER:

a)	Waiver of Subrogation, form WC 420304; and

b)	30 day Notice of Cancellation, form WC 420601.

The minimum policy limits for Employers' Liability Insurance coverage shall be as follows:

For projects involving "governmental functions" with or without hazardous material:

.1	$100,000 bodily injury per accident, $500,000 bodily injury by disease policy limit and $100,000 bodily injury by disease each employee.

For projects involving "proprietary functions" and Aviation projects inside AOA, coordinate amounts with Risk Management:

.2	$<1,000,000 minimum>  bodily injury per accident, $<1,000,000 minimum> bodily injury by disease policy limit and $<1,000,000 minimum>  bodily injury by disease each employee.

For special project requirements:

.3	Reserved.

For projects within 50 feet of a railroad, or as required by the railroad, include the following revision to paragraph 5.3.1.3.

Delete paragraph 5.3.1.3 in its entirety and replace with the following:

5.3.1.3	Workers' Compensation And Employers' Liability Insurance.  Coverage shall be consistent with statutory benefits outlined in the Texas Workers' Compensation Act (Section 401).  CONTRACTOR shall assure compliance with this Statute by submitting two (2) copies of a standard certificate of coverage (e.g. ACCORD form) to Owner's Representative for every person providing services on the Project as acceptable proof of coverage.  The Certificate of Insurance, Section 00650, must be presented as evidence of coverage for CONTRACTOR.  Workers' Compensation Insurance coverage written by the Texas Workers Compensation Fund is acceptable to OWNER.  CONTRACTOR's policy shall apply to the State of Texas and include these endorsements in favor of OWNER:

a)	Waiver of Subrogation, form WC 420304; and

b)	30 day Notice of Cancellation, form WC 420601.

The minimum policy limits for Employers' Liability Insurance coverage shall be as follows:

.1	$500,000 bodily injury per accident, $500,000 bodily injury by disease policy limit and $500,000 bodily injury by disease each employee.

Include the following 5.3.1.4 in all contracts.

5.3.1.4	Commercial General Liability Insurance.  The Policy shall contain the following provisions:

a)	Contractual liability coverage for liability assumed under the Contract and all contracts relative to this Project.

b)	Completed Operations/Products Liability for the duration of the warranty period.

c)	Explosion, Collapse and Underground (X, C & U) coverage.

d)	Independent Contractors coverage (Contractors/ Subcontractors work).

e)	Aggregate limits of insurance per project, endorsement CG 2503.

f)	OWNER listed as an additional insured, endorsement CG 2010.

g)	30 day notice of cancellation in favor of OWNER, endorsement CG 0205.

h)	Waiver of Transfer of Recovery Against Others in favor of OWNER, endorsement CG 2404.

Provide coverages A&B with minimum limits as follows:

For projects involving "governmental functions" without hazardous materials:

.1	A combined bodily injury and property damage limit of $500,000 per occurrence.

For projects involving "governmental functions" with hazardous materials, and projects involving "proprietary functions", coordinate amount with Risk Management:

.2	A combined bodily injury and property damage limit of $<1,000,000 minimum> per occurrence.

For Aviation projects inside AOA:

.3	A combined bodily injury and property damage limit of $5,000,000 per occurrence.

For special project requirements:

.4	Reserved

For projects within 50 feet of a railroad, or as required by the railroad, include the following revision to paragraph 5.3.1.4.

Delete paragraph 5.3.1.4 in its entirety and replace with the following:

5.3.1.4	Commercial General Liability Insurance.  The Policy shall contain the following provisions:

a)	Blanket contractual liability coverage for liability assumed under the Contract and all contracts relative to this Project.

b)	Broad form property damage

c)	Completed Operations/Products Liability for the duration of the warranty period.

d)	Explosion, Collapse and Underground (X, C & U) coverage.

e)	Independent Contractors coverage.

f)	Aggregate limits of insurance per project, endorsement CG 2503.

g)	OWNER listed as an additional insured, endorsement CG 2010.

h)	30 day notice of cancellation in favor of OWNER, endorsement CG 0205.

i)	Waiver of Transfer of Recovery Against Others in favor of OWNER, endorsement CG 2404.

Provide coverages A&B with minimum limits as follows:

.1	A combined bodily injury and property damage limit of $2,000,000 minimum per occurrence and $4,000,000 minimum aggregate.

For building, utility plant, tunneling, bridge and lift station projects, include the following Builders’ Risk Insurance provisions:

5.3.1.5	Builders' Risk Insurance. CONTRACTOR shall maintain Builders' Risk Insurance or Installation Insurance on an all risk physical loss form in the Contract Amount.  Coverage shall continue until the Work is accepted by OWNER.  OWNER shall be a loss payee on the policy.  If off-site storage is permitted, coverage shall include transit and storage in an amount sufficient to protect property being transported or stored.

For projects which include lead abatement instead of asbestos abatement, substitute "lead" for "asbestos" in the following paragraphs.  For projects which include lead and asbestos abatement, change the following paragraphs to read "lead and asbestos." If no lead or asbestos, delete 5.3.1.6.

5.3.1.6	Hazardous Materials Insurance.

For Work which involves asbestos or any hazardous materials or pollution defined as asbestos, CONTRACTOR or Subcontractor responsible for the Work shall comply with the following insurance requirements in addition to those specified above:

.1	Provide an asbestos abatement endorsement to the Commercial General Liability policy with minimum bodily injury and property damage limits of $1,000,000 per occurrence for coverages A&B and products/completed operations coverage with a separate aggregate of $1,000,000.  This policy shall not exclude asbestos or any hazardous materials or pollution defined as asbestos, and shall provide "occurrence" coverage without a sunset clause.  The policy shall provide 30 day Notice of Cancellation and Waiver of Subrogation endorsements in favor of OWNER.

.2	CONTRACTOR or Subcontractor responsible for transporting asbestos or any hazardous materials defined as asbestos shall provide pollution coverage.  Federal law requires interstate or intrastate transporters of asbestos to provide an MCS 90 endorsement with a $5,000,000 limit when transporting asbestos in bulk in conveyances of gross vehicle weight rating of 10,000 pounds or more.  Interstate transporters of asbestos in non-bulk in conveyances of gross vehicle weight rating of 10,000 pounds or more must provide an MCS 90 endorsement with a $1,000,000 limit.  The terms "conveyance" and "bulk" are defined by Title 49 CFR 171.8.  All other transporters of asbestos shall provide either an MCS 90 endorsement with minimum limits of $1,000,000 or an endorsement to their Commercial General Liability Insurance policy which provides coverage for bodily injury and property damage arising out of the transportation of asbestos.  The endorsement shall, at a minimum, provide a $1,000,000 limit of liability and cover events caused by the hazardous properties of airborne asbestos arising from fire, wind, hail, lightning, overturn of conveyance, collision with other vehicles or objects, and loading and unloading of conveyances.

.3	CONTRACTOR shall submit complete copies of the policy providing pollution liability coverage to OWNER.

Include the following 5.3.1.7 in all contracts.

5.3.1.7	Professional Liability Insurance.  For Work which requires professional engineering or professional survey services to meet the requirements of the Contract, including but not limited to excavation safety systems, traffic control plans, and construction surveying, the CONTRACTOR or Subcontractors, responsible for performing the professional services shall provide Professional Liability Insurance with a minimum limit of $500,000 per claim and in the aggregate to pay on behalf of the assured all sums which the assured shall become legally obligated to pay as damages by reason of any negligent act, error, or omission committed with respect to all professional services provided in due course of the Work of this Contract.

For projects within 50 feet of a railroad, or as required by the railroad, include the following Railroad Property Liability insurance provisions.  Also be sure to make companion edits in 5.3.1.2., 5.3.1.3 and 5.3.1.4 above.

Insert the following paragraph:

5.3.1.8	Railroad Protective Liability insurance with broad form coverage, with Railroad Owner listed as an additional insured, with coverage as follows:

.1	Minimum $2,000,000 per occurrence for bodily injury and a minimum of $2,000,000 per occurrence for property damages or a combined single limit of $6,000,000.

If Project is part of Rolling Owner Controlled Insurance Program (ROCIP), include the following section 5.3.2; otherwise delete.

5.3.2	OWNER Controlled Insurance.

5.3.2.1	OWNER has procured, and will maintain at its own expense a Rolling Owner Controlled Insurance Program (ROCIP) with the following coverage for OWNER, CONTRACTOR, each Subcontractor and their respective Sub-subcontractors while engaged in Work under the Contract.  It is not the intent of this ROCIP to cover architects, engineers (not including design/build subcontractors), consultants, vendors, suppliers (who do not perform or subcontract installation), material dealers, guard services, janitorial services, truckers.  Moreover, this ROCIP will not provide coverage for:

.1	Contractors and subcontractors whose main function is abating asbestos or removing hazardous materials and/or waste from the project site;

.2	Others whose sole function is to transport, pickup, deliver or carry materials, supplies, tools, equipment, parts or other items to or from the project site;

.3	Any employee(s) of the Contractor or an enrolled subcontractor of any tier that does not work and/or generate payroll at the Project Site

5.3.2.2	Workers' Compensation and Employers' Liability Insurance. All states including monopolistic.

.1	Workers’ Compensation - Statutory Benefits for Texas or state of hire as required by statute.

.2	Employers' Liability.  Limits of $1,000,000 bodily injury each accident.  $1,000,000 bodily injury by disease, each employee.  $1,000,000 bodily injury by disease, policy limit.

.3	Endorsements:

- Alternate Employer Endorsement WC 00 03 01

- Designated Workplaces Exclusion Endorsement WC 00 03 02

- Federal Employers' Liability Act Coverage Endorsement WC 00 01 04 A

- Longshoremen's and Harbor Workers' Compensation Act Coverage Endorsement WC 00 01 06 A

- Maritime Coverage Endorsement WC 00 02 01 A

- Named Insured Endorsement WC 99 20 16

- Notice of Cancellation WC 99 20

- Pending Rate Change Endorsement WC 00 04 04  (if applicable)

- Policy Period Endorsement WC 00 04 05  (if applicable)

- Premium Discount Endorsement WC 00 04 06

- Rate Change Endorsement WC 00 04 07 (if applicable)

- Sole Agent - Controlled Insurance Program WC 99 16 70

- Sole Proprietor, Partners, Officers and Others Coverage Endorsement WC 00 03 10

- Terrorism Risk Insurance Program Reauthorization Act Disclosure Endorsement WC 00 04 22 A

- Texas Deductible Endorsement WC 99 06 74

- Texas Health Care Network Endorsement WC 42 04 08

- Texas Waiver of Our Right to Recover From Others Endorsement WC 42 03 04A

- Unintentional Errors and Omissions Endorsement WC 99 16 71

- Voluntary Compensation and Employers Liability Coverage Endorsement WC 00 03 11 A (Employees.  All officers and employees not subject to the workers compensation law.)

- Workers Compensation and Employers Liability Insurance Policy WC 00 00 00 A

- Employers Liability Coverage Endorsement WC 00 03 03 C

- Knowledge and Notice of Occurrence Endorsement WC 99 16 69

5.3.2.3	Commercial General Liability Insurance.

.1	Limits of Liability:

- $4,000,000	General Aggregate Limit

- $4,000,000	Products-Completed Operations Aggregate Limit

- $2,000,000	Personal and Advertising Injury

- $2,000,000 	Each Occurrence

- $1,000,000 	Damages to Premises Rented to You Limit (Any one                                    premises. Subject to occurrence limit)

- $10,000	Medical Expense Limit (Any one person. Subject to occurrence limit)

- Aggregate limits will be reinstated annually during the 5-year project period.  For 10 Year Completed Operations Extension, the Products Completed Operations Aggregate will be shared with the latest annual policy period during which a policy issued by us was in effect.

.2	Policy Form.  Commercial General Liability Coverage Form CG 00 01 (12/07 Edition).

.3	Forms:

- Advertisement Redefined LC 29 08 10 11

- Amendment - Non-Cumulation of Liability LC 25 13 08 08

- Asbestos Exclusion LC 21 01 06 05

- Blanket Additional Insured LN 20 01 06 05

- Bodily Injury Redefined LC 29 09 10 11

- Bodily Injury to Co-Employees - Supervisors and Good Samaritans LC 04 17 08 07

- Broad Form Named Insured Endorsement LN 99 05 07 05

- Cap on Losses From Certified Acts of Terrorism CG 21 70 01 08

- Common Policy Conditions IL 00 17 11 98

- Composite Rate Endorsement LC 99 12 06 05

- Contractual Liability - Railroads CG 24 17 10 01

- Deductible - Damages and Supplementary Payments LC 03 02 06 05

- Discrimination Exclusion LC 21 04 06 05

- Earlier Notice Of Cancellation Provided By Us CG 02 24 10 93

- Exclusion - Contractors - Professional Liability CG 22 79 07 98

- Joint and Several Amendment LC 99 28 08 09

- Joint Defense Endorsement LC 22 02 08 09

- Knowledge of Occurrence LC 99 02 06 07

- Lead Exclusion LC 21 06 06 07

- Mold And Mold Related Construction Defect LN 21 01 06 05

- Non-owned Watercraft Amended LN 04 01 06 05

- Notice of Occurrence LC 99 01 06 05

- Nuclear Energy Liability Exclusion Endorsement (Broad Form) IL 00 21 09 08

- Per Project and Per Location Combined Aggregate Limits - With Optional Capped Limits Endorsement LG 31 78 05 05 (20,000,000 capped limits)

- Personal and Advertising Injury - Definition of Publication LC 29 04 08 08

- Personal and Advertising Injury - Occurrence Redefined LC 29 06 08 08

- Policyholder Disclosure - Terrorism Risk Insurance Act GPO 4887 12 07

- Professional Health Care Services by Employee Coverage LC 04 02 06 05

- Reasonable Force LC 04 01 06 05

- Recording and Distribution of Material or Information in Violation of Law Exclusion CG 00 68 05 09

- Silica Exclusion Endorsement LC 21 02 06 05

- Texas Changes - Duties IL 01 68 03 12

- Texas Changes - Employment Related Practices Exclusion CG 26 39 12 07

- Total Pollution Exclusion With a Building Heating Equipment Exception and a Hostile Fire Exception CG 21 65 12 04

- Unintentional Failure to Disclose LC 99 03 06 07

- Waiver Of Transfer Of Rights Of Recovery Against Others To Us CG 24 04 05 09  Any person or organization with whom you have agreed in writing to waive  any right of recovery prior to a loss.

- Wrap-Up Insurance Program - Amendment of Coverage LC 04 23 08 09

- CG 21 70 01 08 – Cap on Losses from Certified Acts of Terrorism

- 21 76 01 08 – Exclusion of Punitive Damages Related to a Certified Act of Terrorism

- CG 26 86 01 08 – Arkansas Exclusion of Punitive Damages Related to a Certified Act of Terrorism

- CG 26 93 01 08 – Alaska Exclusion of Punitive Damages Related to a Certified Act of Terrorism

- CG 21 88 01 07– Conditional Exclusion of Terrorism Involving Nuclear, Biological or chemical Terrorism Relating to Disposition of Federal Terrorism Risk Insurance Act)

5.3.2.4	Umbrella/Excess Liability Insurance.

.1	$50,000,000	    Each Occurrence

.2	$50,000,000	    Products-Completed Operations Aggregate

.3	$50,000,000	    Other Aggregate (Where Applicable)

.4	Umbrella/Excess includes a Completed Operations Extension period of Ten (10) years.

5.3.2.5	General Provisions.

.1	Coverage Availability.  All insurance specified herein shall be maintained continuously until Substantial Completion of the Project except as provided in Section 5.3.1. All insurance shall provide for OWNER to take occupancy of the Work or any part thereof during the term of said insurance.

.2	Insurance Policies and Certificates.  The Broker and/or Insurers will issue Policies for Worker's Compensation and Binders for General Liability to CONTRACTOR, each Subcontractor and each Sub-subcontractor participating in the ROCIP.

.3	CONTRACTOR, Subcontractor and Sub-subcontractors agree to comply with the requirements of the ROCIP including enrollment, record keeping, reporting, auditing, and claim requirements.

.4 	The first five thousand dollars ($5,000) of any insurable general liability property damage loss will be the responsibility of and paid by the CONTRACTOR and deducted from the contract amount.

.5	Contract Insurance Cost.

      - CONTRACTOR agrees not to duplicate or include any portion of their normal insurance cost, including Subcontractor insurance costs, in their Bid or in Change Orders (if any) for the coverages provided by OWNER under paragraphs 5.3.2.2 through 5.3.2.4.

      - CONTRACTOR stipulates that the insurance costs as defined in the Insurance Cost Form (Section 00425), submitted with the Bid and part of the Contract, is the amount that would have been included in the Bid if OWNER elected not to provide such coverage.

      - CONTRACTOR agrees to the audit conditions specified in the Insurance Cost Form (Section 00425).

      - In the event OWNER elects not to include CONTRACTOR's Work under the ROCIP coverages, the insurance amounts reported in the Insurance Cost Form (Section 00425) will be added to the Contract Amount on a pro rated basis.

      - CONTRACTOR shall agree to cooperate fully with OWNER's ROCIP Administrator and Project Manager in providing the necessary insurance data and information as required in the Bid Documents and associated documents and submittals furnished and required by OWNER during the duration of the Project or until OWNER furnished coverages are terminated.  Failure to provide insurance information or documents/submittals to the OWNER’s ROCIP Administrator and OWNER’s Representative within specified time periods, by CONTRACTOR, any Subcontractor or Sub-subcontractor will result in withholding of progress payments to CONTRACTOR by OWNER.  The Green Form can be withheld due to failure to provide insurance information or documents within specified time periods.

.6	Governing Conditions.  In the event of conflict between Insurance Policy Terms and Conditions and the coverage conditions specified herein, the insurance policies will govern.

.7	CONTRACTOR Furnished Insurance.

- Automobile Liability Insurance.  CONTRACTOR and all Subcontractors, Sub-subcontractors and vendors shall maintain Automobile Liability Insurance as specified in paragraphs 5.3.1.1 and 5.3.1.2, at their own expense.  CONTRACTOR must submit Certificates of Insurance for all Subcontractors to OWNER prior to their commencing Work on the Project.

- Vendors, Suppliers and Haulers Required Insurance

  - Workers’ Compensation and Employers’ Liability Insurance.  Vendors, suppliers, haulers, and other non-ROCIP participants as outlined in 5.3.2.1 shall provide workers’ compensation insurance as specified in paragraphs 5.3.1.1 and 5.3.1.3.

This coverage requirement does not apply to motor carriers who are required pursuant to Texas Civil Statutes, Article 6675c to register with the Texas Department of Transportation and to provide accidental insurance coverage pursuant to Texas Civil Statutes, Article 6675c.

This coverage requirement does not apply to sole proprietors, partners, and corporate officers who meet the requirements of the Texas Workers’ Compensation Act (Act), Article 406.09(c) and who are explicitly excluded from coverage in accordance with the Act.

  - Automobile Liability Insurance. Vendors, suppliers, haulers and other non-ROCIP participants as outlined in 5.3.2.1 shall provide workers’ compensation insurance as specified in paragraphs 5.3.1.1 and 5.3.1.2.

  - Commercial General Liability Insurance.  Vendors, suppliers, haulers, and other non-ROCIP participants as outlined in 5.3.2.1 shall provide Commercial General Liability Insurance as specified in paragraphs 5.3.1.1 and 5.3.1.4.

.8	Other Insurance.

- The ROCIP as outlined herein is intended to afford broad coverage and relatively high limits of liability, but it may not provide all the insurance needed or desired by CONTRACTOR, Subcontractors or Sub-subcontractors.  Any insurance or limits of liability greater than those provided by the ROCIP or other coverages which CONTRACTOR, Subcontractors or Sub-subcontractors may be required by Law to carry or may need for its own protection, shall be at their own expense and the cost therefore may not be included in the Bid.

- If CONTRACTOR chooses to have such policies endorsed to recognize the Project site during the construction period, coverage should be excess and/or Difference In Conditions (DIC) of the OWNER's ROCIP as determined by CONTRACTOR or Subcontractor.  OWNER shall be endorsed as additional insured.

- Any policy of insurance covering CONTRACTOR, any Subcontractor or any Sub-subcontractor for its owned and leased machinery, water craft, vehicles, tools, or equipment (used in connection with the Project) for physical loss or damage shall provide a Waiver of Subrogation Rights against OWNER, Project Manager, if applicable, CONTRACTOR, Subcontractor, or Sub-subcontractor that is insured under the ROCIP, including the employees, agents or assigns of any one of them.

.9	Mutual Waiver of Property Damage and Right of Recovery.  To the extent of coverage provided by the Builder's Risk Insurance, OWNER has waived its rights to recover physical damage or loss to its property against CONTRACTOR, Subcontractors and Sub-subcontractors.  CONTRACTOR, Subcontractors and Sub-subcontractors shall also waive any and all rights each may have to recover physical damage or loss to the property of each against OWNER, its designees,  E/A, and other contractors engaged in the Project.  This waiver of the right of recovery for property damage shall be binding upon any property, automobile or equipment insured in respect to any subrogation rights which such insurer may possess by virtue of any payments of damage or loss.  CONTRACTOR, Subcontractors and Sub-subcontractors agree as a condition of performing Work on the Project to execute such documents and coverage described herein and the waiver(s) of subrogation as described herein.

.10	Certificates of Insurance.  CONTRACTOR  shall submit  three (3) copies of the required Certificates of Insurance (Section 00650) for CONTRACTOR and all Subcontractors and Sub-subcontractors to OWNER prior to their commencing Work on the job site.  CONTRACTOR  and all Subcontractors and Sub-subcontractors shall provide the following information on the Certificate of Insurance:

Workers’ Compensation (off-site)
		General Liability (off-site)
		Umbrella/Excess Liability (off-site)
		Automobile Liability - Primary (CONTRACTOR must provide hired/non-owned)

If necessary, edit the payment percentages in paragraph 5.4.2.2 and 5.4.2.3 to meet specific project needs.   If standard language in the 00700 is acceptable, delete.

5.4.2	Performance Bond.

“.2	If the Contract Amount exceeds $25,000 but is less than or equal to $100,000, CONTRACTOR shall furnish OWNER with a Performance Bond in the form set out in Section 00610, unless the original Contract Time is 60 Calendar Days/40 Working Days or less, in which case CONTRACTOR can agree to the following terms and conditions for payment in lieu of providing a Performance Bond:  no moneys will be paid to CONTRACTOR until completion and acceptance of the Work by OWNER; CONTRACTOR shall be entitled to receive <95%> of the Contract Amount following Final Completion, and the remaining <5%> of the Contract Amount following the one year warranty period.

.3	If the Contract Amount is less than or equal to $25,000, CONTRACTOR will not be required to furnish a Performance Bond; provided that no moneys will be paid to CONTRACTOR until completion and acceptance of the Work by OWNER under the following terms and conditions: CONTRACTOR shall be entitled to receive <95%> of the Contract Amount following Final Completion, and the remaining <5%> of the Contract Amount following the one year warranty period.”

ARTICLE 6 - CONTRACTOR'S RESPONSIBILITIES

For Federal DBE projects, include the following modification of 6.4.7; otherwise delete:

6.4	Concerning Subcontractors, Suppliers and Others:  Delete 6.4.7 and replace with the following:

“6.4.7	CONTRACTOR shall pay each Subcontractor under this Contract for satisfactory performance of its contract no later than ten (10) Calendar Days from the CONTRACTOR’s receipt of payment from OWNER.  CONTRACTOR shall not withhold retainage payments from any Subcontractor.  Any delay or postponement of payment from the above referenced time frame may occur only for good cause following written approval from OWNER.  This clause applies to both DBE and non-DBE Subcontractors.”

If needed, include the following modification of 6.5; otherwise delete:

6.5	   Patent Fees and Royalties: Add the following:

Insert any Project specific information on license fees and royalties.

Include the following modification of 6.6 in all Contracts:

6.6	  Permits, Fees:  Add the following:

"OWNER will obtain and pay for the following permits, licenses and/or fees:

Add to or delete from the following list to meet Project requirements:

.1	Site Development Permit.

.2	Building Permit(s).  OWNER's responsibility for obtaining and paying for the Building Permit(s) shall be limited to the following where applicable: the required Electrical Service (Aid of Construction) Fee, Water and Wastewater Tap Fees, Water and Wastewater Capital Recovery Fees, and Septic Permit Fee.  The OWNER’s responsibility for obtaining and paying for the Building Permit(s) excludes securing and paying for the following where applicable:  Driveway Permit (Concrete) Fee, Electrical Permit, Mechanical Permit, Plumbing Permit, Water Engineering Inspection Fee, Temporary Use of Right-of Way Permit, the gas company’s Gas Yard Line Contribution Fee, and any other permits/fees not listed above.

.3	Texas Department of Transportation permit for Work in State rights-of-way.

.4	Railroad Utility License Agreement."

6.7.4 Option 1:  If Project will have an aggregate disturbed area of soil at least 1 acre but less than 5 acres, include the following paragraph 6.7.4, and appropriate subparagraphs as described below.  If there is any other Project specific information, (e.g. Federal regulations connected to funding), insert it in 6.7.4.  If neither of these conditions applies, delete the following 6.7.4 and all of its subparagraphs.  See Option 2 below if the Project site is 5 acres or more.

6.7    Laws and Regulations: Add the following:

“6.7.4	This Work is subject to the Texas Pollution Discharge Elimination System (TPDES) permitting requirements for the installation and maintenance of temporary and permanent erosion and sediment controls and storm water pollution prevention measures throughout the construction period.

OWNER has prepared a Storm Water Pollution Prevention Plan (SWPPP).  Reference Section 01096 for this SWPPP.

OWNER shall file the Owner's Notice of Intent to the Texas Commission on Environmental Quality (TCEQ).  OWNER shall pay the TPDES storm water application fee.

CONTRACTOR’s responsibilities are as follows:

.1	Obtain a signed certification statement from all Subcontractors responsible for implementing the erosion / sedimentation controls and other best management practices that are part of the SWPPP.  This statement shall indicate that the Subcontractor understands the permit requirements.  The certified statement forms shall be attached to and become part of the SWPPP.

.2	Fill out the TCEQ’s “Construction Site Notice” form, which is Attachment 2 to the TPDES General Permit TXR150000 (form available from OWNER or on the Internet at http://www.tceq.state.tx.us/assets/public/permitting/waterquality/attachments/stormwater/txr152d2.pdf and post it near the main entrance of the Work, or at multiple postings if the Work is linear. Mail a copy of the completed Construction Site Notice form to the local Municipal Separate Storm Sewer Systems (MS4) representative:

TPDES Program Coordinator
City of Austin – WPD – ERM
P.O. Box 1088
Austin, TX  78767

.3	Maintain all erosion/sedimentation controls and other protective measures identified in the SWPPP in effective operating condition.

.4	Perform inspections every five (5) working days and after every ½ inch rainfall event, noting the following observations on an inspection form provided by OWNER:

- Locations of discharges of sediment or other pollutants from the site.

- Locations of storm water / erosion / sedimentation controls that are in need of maintenance.

- Locations of storm water / erosion / sedimentation controls that are not performing, failing to operate, or are inadequate.

- Locations where additional storm water / erosion / sedimentation controls are needed.

.5	Maintain at Work site at all times a copy of the SWPPP (with all updates, as described below) and inspection reports.

.6	Update the SWPPP as necessary to comply with TPDES permitting requirements, which includes noting changes in erosion / sedimentation controls and other best management practices that are part of the SWPPP and which may be necessary due to the results of inspection reports.  Any SWPPP revisions or updates must be signed and certified by a Certified Professional in Erosion and Sedimentation Control (CPESC) or a Registered Professional Engineer.  If the SWPPP includes engineering calculations, then SWPPP must be sealed and signed by a Registered Professional Engineer.

.7 	Upon completion of the Work, provide TPDES records to OWNER."

6.7.4 Option 2:  If Project will have an aggregate disturbed area of soil 5 acres or more, include the following paragraph 6.7.4, and appropriate subparagraphs as described below.  If there is any other Project specific information, (e.g. Federal regulations connected to funding), insert it in 6.7.4.  If neither of these conditions applies, delete the following 6.7.4 and all of its subparagraphs.

6.7	Laws and Regulations: Add the following:

“6.7.4	This Work is subject to the Texas Pollution Discharge Elimination System (TPDES) permitting requirements for the installation and maintenance of temporary and permanent erosion and sediment controls and storm water pollution prevention measures throughout the construction period.

OWNER has prepared a Storm Water Pollution Prevention Plan (SWPPP).  Reference Section 01096 for this SWPPP.

OWNER shall file the Owner's Notice of Intent and Notice of Termination to the Texas Commission on Environmental Quality (TCEQ). OWNER shall pay the TPDES storm water application fee.

CONTRACTOR's responsibilities are as follows.

.1	File a Notice of Intent (NOI) form with the TCEQ at least two (2) days prior to start of construction activity and pay for the permit. Form is available from OWNER or on the Internet at http://www.tceq.state.tx.us/assets/public/permitting/waterquality/forms/20022.pdf.

The form shall be mailed or submitted online to the TCEQ. If submitting online, the web address is https://www6.tceq.state.tx.us/steers/.  If CONTRACTOR has not already registered to use the TCEQ online application submittal service, it will take up to ten (10) Working Days to receive a user name and password.  CONTRACTOR shall take this timeframe into consideration if applying online. A Time Extension shall not be granted for this timeframe.

The mailing address is:

Texas Commission on Environmental Quality
Storm Water & General Permits Team; MC-228
P.O. Box 13087
Austin, TX  78711-3087

A copy of the completed Notice of Intent (NOI) form must also be mailed to the local Municipal Separate Storm Sewer Systems (MS4) representative:

TPDES Program Coordinator
City of Austin – WPD – ERM 
P.O. Box 1088
Austin, TX  78767

.2	Obtain a signed certification statement from all Subcontractors responsible for implementing the erosion and sediment control measures.  This statement shall indicate that the Subcontractor understands the permit requirements.  The certified statement forms shall be attached to and become part of the SWPPP.

.3	Post a notice near the main entrance of the Work with the following information.

- The TPDES permit number for the Work or a copy of the NOI if a permit number has not yet been assigned,

- The name and telephone number of a local contact person,

- A brief description of the Work, and

- The location of the SWPPP if the site is inactive or does not have an on-site location to store the plan.

If posting this information near a main entrance is infeasible due to safety concerns, the notice must be posted in a local public building.  If the Work is linear (pipeline, highway, etc.), the notice must be placed in a publicly accessible location near where construction is actively underway and moved as necessary.  For linear Work, multiple postings of the information may be required by OWNER (e.g. postings at both ends of the Work).

.4	Maintain all erosion and sediment control measures and other protective measures identified in the SWPPP in effective operating condition.

.5	Perform inspections every five (5) working days and after every ½ inch rainfall event, noting the following observations on an inspection form provided by OWNER:

- Locations of discharges of sediment or other pollutants from the site.

- Locations of storm water / erosion / sedimentation controls that are in need of maintenance.

- Locations of storm water / erosion / sedimentation controls that are not performing, failing to operate, or are inadequate.

- Locations where additional storm water / erosion / sedimentation controls are needed.

.6	Maintain at Work site at all times a copy of the SWPPP (with all updates, as described below) and inspection reports.

.7	Update the SWPPP as necessary to comply with TPDES permitting requirements, which includes noting changes in erosion / sedimentation controls and other best management practices that are part of the SWPPP and which may be necessary due to the results of inspection reports.  Any SWPPP revisions or updates must be signed and certified by a Certified Professional in Erosion and Sedimentation Control (CPESC) or a Registered Professional Engineer.  If the SWPPP includes engineering calculations, then SWPPP must be sealed and signed by a Registered Professional Engineer.

.8	File a Notice of Termination with the TCEQ within thirty (30) days of final stabilization on all portions of the Work site.  Form is available from OWNER or on the Internet at http://www.tceq.state.tx.us/assets/public/permitting/waterquality/forms/20023.pdf.

The NOT shall be mailed to:
Storm Water & General Permits Team; MC-228
P.O. Box 13087
Austin, TX  78711-3087
(512) 239-4671

.9	Upon completion of the Work, provide TPDES records to OWNER."

If Project is part of Rolling Owner Controlled Insurance Program (ROCIP), include the following modification of 6.11.2; otherwise delete.

6.11    Safety and Protection: Add the following to paragraph 6.11.2:

"6.11.2 	CONTRACTOR shall comply with all provisions of the "Project Safety Manual" provided by OWNER as part of its insurance coverage program under the Rolling Owner Controlled Insurance Program (ROCIP).  This program is in addition to CONTRACTOR's existing safety program, not in lieu of that program."

If desired, include the following modification of paragraph 6.11.3; otherwise delete:

6.11   Safety and Protection: Add the following to paragraph 6.11.3:

“6.11.3 	At the minimum, the safety representative will be certified in personal protective equipment, hazard communication, demolition and blasting, trench/excavation, hand and power tools, welding/cutting, cranes/derricks/hoists/conveyors/, scaffolding, confined space, CPR and first aid.”

Include the following paragraph 6.11.7 in all contracts:

6.11   Safety and Protection: Add the following paragraph 6.11.7:

“6.11.7 	If the Contractor fails to carry out the Work in accordance with the Contract Documents so that a safety violation has occurred, the Owner may order the Contractor to stop the Work or any portion thereof, until the cause for such order has been eliminated.  However, the right of the Owner to stop the Work under this paragraph shall not give rise to a duty on the part of the Owner to supervise the Contractor’s Work or to control the Contractor’s means and methods or to exercise this right for the benefit of the Contractor or any other person or entity.  All time lost due to Project shut down will be the Contractor’s sole responsibility, will be charged against the Contract Time, and the Contractor will be responsible for any and all expenses incurred.  This provision is in addition to and supplemental to the applicable provisions of the Project’s ROCIP Safety Manual.”

ARTICLE 9 - ENGINEER/ARCHITECT'S STATUS DURING CONSTRUCTION

If Resident Project Representative is utilized, include the following paragraph 9.4; otherwise delete:

  - Project Representative: Add the following:

Add responsibilities, authority and limitations of Resident Project Representative here.

“                  “

ARTICLE 11 - CHANGE OF CONTRACT AMOUNT

If desired, include the following modification of 11.4.1.2 to clarify how a proposed lump sum adjustment to the Contract Amount will be evaluated; otherwise delete:

11.4	Determination of Value of Work: Add the following to paragraph 11.4.1.2:

"11.4.1.2	The R.S. Means Co., Inc. 'Building Construction Cost Data' - latest edition - shall be used as a basis for evaluating the cost of labor, material and equipment to be incorporated in the Work and the cost of tools, equipment and facilities necessary to accomplish the Work described in the change.  The costs of payroll taxes and insurance, Liability and Builder's Risk Insurance, and bonds shall be calculated as follows:

- Payroll taxes and Workers' Compensation Insurance <25% of payroll (14.65% of payroll for ROCIP Projects)>

- Liability and Builder's Risk Insurance <2% of total costs (.034% of total costs for ROCIP Projects)>

- Performance and Payment Bond according to the following table:

% OF TOTAL COST
			DOLLAR VALUE				OF CHANGE ORDER ADDED
			OF CONTRACT				FOR BOND EXPENSE

100,000	or 	less				2.5
			100,001	thru	500,000			1.5
			500,001	thru	2,500,000			1.0
			2,500,001	thru	5,000,000			0.75
			5,000,001	thru	7,500,000			0.70
			OVER 7,500,000					0.65

Overhead and profit shall be calculated as follows:

- For Subcontractors and for those portions of the Work performed by CONTRACTOR's own forces:
15% of the first $10,000.00 of costs.
10% of the balance over $10,000.00.

- For the CONTRACTOR for Work performed by Subcontractors:
10% of the first $10,000.00 of costs.
7.5% of the balance over $10,000.00.

The total costs for the change, whether additive or deductive shall be the sum total of:

- cost of labor, material and equipment.

- cost of tools, equipment and facilities.

- cost of payroll taxes and insurance, Liability and Builder's Risk Insurance, and bonds.

- overhead and profit (for additive changes only)."

ARTICLE 13 - TESTS AND INSPECTIONS; CORRECTION, REMOVAL OR ACCEPTANCE OF DEFECTIVE WORK

Include the following modification of 13.3 for all projects.

13.3    Tests and Inspections:  Delete 13.3.1 thru 13.3.5 and replace with the following:

    - “CONTRACTOR shall give timely notice of readiness of the Work for all required inspections, tests or approvals, and shall cooperate with inspection and testing personnel to facilitate required inspections or tests.

    - OWNER shall employ and pay for services of an independent testing laboratory to perform all inspections, tests or approvals required by the Contract Documents except:

      - for inspections, tests or approvals covered by paragraphs 13.3.3 and 13.3.4 below;

      - that costs incurred for tests or inspections conducted pursuant to paragraph 13.4.3 shall be paid as provided in paragraph 13.4.3;

      - for reinspecting or retesting defective Work, including any associated costs incurred by the testing laboratory for cancelled tests or standby time; and

      - as otherwise specifically provided in the Contract Documents.

    - If laws or regulations of any public body having jurisdiction require any Work (or part thereof) specifically to be inspected, tested or approved by an employee or other representative of such public body, CONTRACTOR shall assume full responsibility for arranging and obtaining such inspections, tests or approvals, pay all costs in connection therewith and furnish Owner's Representative the required certificates of inspection or approval.

    - CONTRACTOR shall also be responsible for arranging and obtaining and shall pay all costs in connection with any inspections, tests or approvals required for OWNER's and E/A's review of submittals covering materials, equipment, and mix designs to be incorporated in the Work.

    - All testing laboratories shall meet the requirements of ASTM E-329.”

If a "Warranty Item Form" is to be utilized on the Project, add the following paragraph 13.7.5 and attach a copy at the end of this section; otherwise delete.

13.7	Warranty Period: Add the following:

"13.7.5	OWNER will utilize a "Warranty Item Form" (attached at the end of this Section) for the purpose of providing Written Notice of warranty defects to CONTRACTOR.  CONTRACTOR shall date, sign, complete and return the form to OWNER when the defect is corrected, including such information on or attached to the form to describe the nature of the repairs or corrections that were made.  If the defect cannot be corrected in seven (7) Calendar Days, CONTRACTOR shall provide a written explanation to the Owner's Representative describing the repairs needed and the time required to complete the repairs."

ARTICLE 14 - PAYMENTS TO CONTRACTOR AND COMPLETION

Include the following modifications of 14.1.1 and 14.1.6.2 for projects selected for the Super Prompt Payment Program; otherwise delete.

14.1    Application for Progress Payment:  Delete 14.1.1 and replace with the following:

"14.1.1  Super Prompt Payment Program.  In the event that the Project is included in the Super Prompt Payment Program, CONTRACTOR is required to submit, at least ten (10) business days prior to submitting its first Application for Payment, the necessary information required to receive electronic payments from the OWNER.  Super Prompt Payment Program payments will be made to the CONTRACTOR via electronic payment and the CONTRACTOR will use best efforts to expedite payment to the eligible Subcontractors.  Under the Super Prompt Payment Program, OWNER will pay CONTRACTOR on the first and third Monday of each month.  Three (3) business days prior to the first or third Monday of each month, CONTRACTOR shall submit an Application for Payment to Owner's Representative for review and approval.  The Application for payment must be in a form acceptable to OWNER, filled out and signed by CONTRACTOR, covering the Work complete as of the date of the Pay Application and accompanied by such supporting documentation as is required by the Contract Documents.  If requested by an eligible Super Prompt Payment subcontractor, three (3) business days prior to the succeeding first or third Monday of the month, CONTRACTOR shall submit to Owner's Representative for review and approval, an additional Application for Payment  in a form acceptable to OWNER, filled out and signed by CONTRACTOR, covering the portion of the Work complete as of the date of the additional Application for Payment (excluding any costs previously submitted) and accompanied by such supporting documentation as is required by the Contract Documents."

Delete 14.1.6.2 and replace with the following:

".2	bi-monthly subcontractor reports for Standard and Supplemental Pay Applications."

Include the following edit of 14.1.5 for projects with federal funding.

14.1	Application for Progress Payment:  Delete 14.1.5 and replace with the following:

“.5	Retainage will not be withheld on federally funded projects.”

Include the following modification of 14.1.6, if applicable; otherwise delete:

14.1	Application for Progress Payment:  Delete 14.1.6.3 and replace with the following:

For projects utilizing Time Extension Request form, include the following:

".3	Time Extension Request."

For Working Day or Calendar Day contracts utilizing a contract time statement form (a.k.a. monthly time statement), include the following:

“.3	Contract time statement form signed by CONTRACTOR and Owner’s Representative.  If CONTRACTOR does not agree with the number of accumulated days charged, CONTRACTOR shall file a Claim in accordance with Article 16.1, Filing of Claims.”

For ROCIP projects, include the following:

".4 	Payroll Authorization and Certificates of Insurance.  CONTRACTOR shall provide monthly payroll reports (including CONTRACTOR and all Subcontractors and Sub-subcontractors) to the ROCIP Insurance Administrator on forms provided by the ROCIP Administrator or on other mutually agreed upon forms.  In addition, Contractor shall assure that current certificates of insurance are provided as necessary for CONTRACTOR and all Subcontractors and Sub-subcontractors.   A Payment Form signed by the ROCIP Administrator shall be submitted with each Application for Payment.  Failure to submit this form will result in withholding of payment.   The ROCIP Insurance Administrator will generate the Payment Form upon receipt of the monthly payroll report and required certificates of insurance."

And/or insert any additional documentation to be included with Applications for Payment, e.g. photographs.

For ROCIP projects, include the following modification of 14.4.1; otherwise delete:

14.4	Decisions to Withhold Payment:

Reference 14.4.1; add the following:

“.16	failure of CONTRACTOR to meet the ROCIP and/or Safety Program requirements.

.17	property damage losses that are the responsibility of the CONTRACTOR  (reference section 00810, 5.3.2.5.4)”

For water and wastewater line construction and/or roadway construction/reconstruction projects, include the following modifications of 14.7.1, otherwise delete:

14.7	Substantial Completion:

Reference 14.7.1, and add the following two provisions:

“14.7.1.1	For water and wastewater lines construction, Substantial Completion means that the Work, including all testing and disinfection, has been completed and accepted and the line(s) placed into service.  A certificate of Substantial Completion will not be issued.  Work that remains after Substantial Completion could include the final pavement of roadways, adjustment of structures to final grade and revegetation.  Owner’s Representative will issue a notice specifying what portion of the Work is partially completed for the purpose of payment and what Work remains to be done on the portion being accepted as Substantially Complete.  This subsection 14.7.1.1 changes the 00700 General Conditions definition of Substantial Completion.”

“14.7.1.2	For roadway construction and/or reconstruction, Substantial Completion means that the Work, including the final surface course, all permanent traffic control devices (pavement markings, signs, etc.), substantial clean-up, and punchlist items have been completed, accepted, and placed into service, and, any traffic signal or street lighting conduit that has been installed, lowered or relocated must be inspected for usability by, and must have received written approval from, the City’s traffic signal section and/or street lighting section, as well as having been completed, accepted, and placed into service. A certificate of Substantial Completion will not be issued.  Work that remains after Substantial Completion could include final clean up.  Owner’s Representative will issue a notice specifying what portion of the Work is partially completed for the purpose of payment and what Work remains to be done on the portion being accepted as Substantially Complete.  This subsection 14.7.1.2 changes the 00700 General Conditions definition of Substantial Completion.”

Include the following paragraph 14.7.3 if needed to identify unique substantial completion requirements; otherwise delete:

Add the following:

“14.7.3	”

Identify any specific Work that must be completed in order for Work, or portion thereof, to be deemed substantially complete.

For water and wastewater line construction and/or roadway construction/reconstruction projects, include the following modifications of 14.8.1; otherwise delete:

14.8	Partial Utilization: Delete 14.8.1 and replace with the following (changes to the original text are identified by underlining):

“.1	OWNER at any time may request CONTRACTOR to permit OWNER to use any such part of the Work which OWNER believes to be ready for its intended use and substantially complete.  If CONTRACTOR agrees that such part of the Work is substantially complete, CONTRACTOR will certify to Owner’s Representative that such part of the Work is substantially complete and request Owner’s Representative to issue a notice specifying what portion of the Work is substantially complete for the purpose of payment and what Work remains to be done on the portion being accepted.  CONTRACTOR at any time may notify Owner’s Representative that CONTRACTOR considers any such part of the Work ready for its intended use and substantially complete and request Owner’s Representative to issue a notice specifying what portion of the Work is partially completed for the purpose of payment and what Work remains to be done on the portion being accepted.  The provisions of paragraphs 14.7.1 and 14.7.2 will apply with respect to the notice specifying what portion of the Work is partially completed for the purpose of payment and what Work remains to be done on the portion being accepted.”

For ROCIP projects and/or those complying with the SWPPP requirements in 6.7.4, include the following modification of 14.10 and number accordingly; otherwise delete.

14.10	Final Application for Payment:  Add the following paragraph(s) to 14.10:

“.10	Documentation required by the ROCIP.”

".11	TPDES records in accordance with 6.7.4."

For projects subject to "Tree Use in Capital Improvements" under City Code Section 6-3-64 add the first edit to 14.11.1; otherwise delete.  For projects with remaining revegetation work, add the second edit to 14.11.1; otherwise delete.

14.11 Final Payment and Acceptance:

Add the following to paragraph 14.11.1:

"If the Contract Documents require the maintenance of any trees and tree support infrastructure for two (2) years following Final Completion, the CONTRACTOR may execute a zero-cost “Tree Maintenance Change Order” for such Work and post fiscal security acceptable to OWNER to ensure completion of the tree maintenance.  The fiscal security will be a bond, letter of credit, or cash escrow in a form promulgated by OWNER and posted with OWNER’s Parks and Recreation Department. If the CONTRACTOR does not complete the tree maintenance work as required, the OWNER, at its option, may complete the Work using the posted fiscal security.”

Add the following to paragraph 14.11.1:

“If the sole remaining, unfinished item of the Work is revegetation or other permanent erosion control, including, if applicable, tree mitigation, (collectively, the “revegetation”), the CONTRACTOR may execute a zero-cost “Revegetation Change Order” for such Work and post fiscal security acceptable to Owner to ensure completion of the revegetation.

The fiscal security will be a bond, letter of credit, or cash escrow in a form promulgated by OWNER and posted with OWNER’s Watershed Protection Department.

Upon receipt of the executed Revegetation Change Order and fiscal security, the Owner’s Representative will issue a conditional letter of final acceptance to the CONTRACTOR for the Work, excluding the revegetation, which establishes the Final Completion Date for that Work and initiates the one year warranty period.

This revegetation must be accomplished within 120 Calendar Days of the date of Final Completion of the balance of the Work or such other stipulated time for completion directed in the Change Order.  When the revegetation has been established, OWNER will inspect for final acceptance of that portion of the Work and, as applicable, initiate the one year warranty period for that Work.

If the revegetation is not completed within the 120 Calendar Days or such other time set forth in the Change Order, the OWNER, at its option, may complete the Work using the posted fiscal security.”

ARTICLE 15 – SUSPENSION OF WORK AND TERMINATION

For ROCIP projects, include the following modification of 15.3.1; otherwise delete:

15.3	Owner May Terminate with Cause:  Add the following paragraph to 15.3.1:

“.8	if CONTRACTOR fails to meet the ROCIP and/or Safety Program requirements;”

If you included optional paragraph 13.7.5, use Warranty form attached at the end of this file; otherwise delete and add the END designator after 15.3 to indicate this is the end of this section:

WARRANTY ITEM NO. _____		(PROJECT NAME)

The General Conditions of the Contract require that Warranty Defects be corrected within 7 days after written notice is received.

TO:   															 		contractor name address / telephone / fax / email

ATTENTION OF:

FROM:    												
			project manager name / address / telephone / fax / email

PROJECT: 												
			name / location / CIP ID number

END OF ONE YEAR WARRANTY:

SUBJECT:												
[    ]  If checked, the damage requires immediate attention.  The Contractor has been called.
[    ]  If checked, the Consultant has been asked to consult with the Contractor on the problem.

PLEASE CORRECT OR REPAIR THE FOLLOWING ITEM(S):

DATE OF REQUEST					SIGNATURE    														 	Project Manager

xc: 
[    ] 									Phone No.

[    ]   									Phone No.

[    ]  									Phone No.

[    ]   									Phone No.

RESPONSE FROM CONTRACTOR:    DATE CORRECTION WAS MADE:_____________

The Contractor must endeavor to correct the defect within 7 calendar days after written notice is given.  If the defect cannot be corrected in that time, Contractor shall provide a written explanation to the Owner's Representative describing the repairs needed and the time required to complete the repairs.

Description of corrections made:

DATE OF REPLY					SIGNATURE

When the repair is complete, the contractor should return a copy to each of the following:

[    ] 									Phone No.

[    ]   									Phone No.

[    ]  									Phone No.

[    ]   									Phone No.

END