Section IV:

- The Task Force strongly recommends that Austin explore a different approach beyond the current utility model.

  - We encourage AWU to embrace a new decentralized models in addition to traditional centralized models

  - We encourage AWU  to explore options that may not have been attractive 25 years ago based on cost, water availability and other issues

  - The utility needs to look inward and critically assess internal processes and ability to respond to changing water supply conditions and to implement water supply strategies

  - Implement risk-based renewal planning approach to future utility needs.  High risk assets are addressed first.

  - Austin Water Utility needs to place a priority on developing partnerships both with regional entities and within city departments.

  - Diversifying sources and investing in deep water conservation will require that Austin Water Utility continue to adapt its rates to become less dependent on volumetric water sales.

- The City of Austin and Austin Water Utility must develop a realistic Integrated Water Resources Plan similar to LCRA WMP and electric Integrated Resources Plan

  - Meaningful public participation in water supply is paramount to creating a new water paradigm to meet future water supply challenges.  This will enable Austin citizens become educated and engaged on our water supply challenges and to be partners in solutions.

  - An integrated water resources plan will facilitate regional water supply partnerships, technology cost sharing opportunities,balanced regional water reliability, and improved drought preparedness.

  - Austin should evaluate the impact of various water supply and climate scenarios to ensure to ensure sustainability of water supply.

  - Work on this plan should begin immediately.

- Explore options

  - Decentralization: The decentralized concept is the idea that water is most effectively and efficiently managed by treating it—and reusing it—as close to where it is generated as practical. Infrastructure failure and vulnerabilities are minimized while water resources utilization is maximized on a local and highly integrated level. The overall system becomes more reliable and is adaptable to a variety of future development scenarios. Decentralized stormwater or wastewater treatment infrastructure can be part of Austin Water Utility’s capital portfolio. It can also be developed economically by institutions and private developers at a competitive cost of service to what AWU offers, a model that frees up Austin Water’s capital to meet other needs.

  - Conservation, Demand side options, Variety of regulatory and voluntary options to serve all user groups

  - Diversification of supply sources. Reliability of water supply is best achieved through diversification of system.

  - Develop and foster Regional Cooperation and Partnerships

  - Reuse: Focus on multiple cycle reuse of existing water supplies.  The lowest cost water is that which is already under our control.

  - Addressing Needs vs. Wants

  - Austin Water Utility can mitigate the ratepayer impacts of investing in new supply options by adopting a capital planning approach that attempts to discover revenue-positive or revenue-neutral opportunities throughout its asset portfolio. Designing wastewater treatment facilities to capture (and monetize, where possible) the energy and nutrient load is one way of discovering this ratepayer benefit. Progressive utilities around the country, including San Antonio Water System, Alexandria Renew Enterprises and East Bay Municipal Utility District already generate energy or sell natural gas from their wastewater facilities.

  - Austin Water Utility can also mitigate ratepayer impacts by encouraging the use of private capital to finance decentralized infrastructure throughout the city. Given Austin’s extraordinary growth and the scale of new development and redevelopment citywide, there is vast untapped potential to provide water solutions that do not implicate the balance sheet of Austin Water, which is already challenged by necessary efforts at water conservation and essential capital investments. In New York City and San Francisco, private land developers have demonstrated the economic opportunity of developing parcel-scale stormwater and wastewater reuse projects. These projects provide wastewater treatment and non-potable water at a cost of $11 – 15 per 1,000 gallons, making it competitive with Austin’s combined water and wastewater rates. Better still, these projects can be designed to be net energy neutral, using the heat from onsite  wastewater treatment to provide hot and chilled water loops that can offset the energy needs of the building. The economic competitiveness of these projects scales with size, but with the smallest economic project pegged at 300,000 sq-ft, there are many opportunities within our growing city. One example of such a project is the New School in New York City.

- New normal

  - Drought / Climate

  - Personal behavior – new water ethic

- Matrix – The Task Force has developed a matrix that we recommend be used to evaluate different potential water supply projects.  This matrix includes criteria ranging from cost to social impacts.  We encourage the city council to direct the utility to use a this or a substantially similar approach to evaluate possible water supply projects.  We have provided definitions of the water supply project evaluation criteria and scoring criteria in order to be clear about the aspects that we feel are important to consider when evaluating water supply.

  - We did not have sufficient time to go into the level of detail on strategy yield and cost that we feel is necessary to accurately populate this matrix.

  - The numbers that were provided to the task force were from different sources and in some cases varied dramatically, which makes scoring difficult in this timeframe.

  - When populating the matrices, AWU should take care to develop annual costs for both supply and demand management projects using consistent methodology to allow for appropriate comparison. Associated capital expenditures for all projects, regardless of demand or supply management, should be amortized over a set period and added to the related annual operations and maintenance (O&M) cost for a total annual cost of the project. Although it is not currently City financial policy to bond finance associated capital components of demand management strategies, this approach provides for relative comparison of strategies with supply-side options as well as recognizes the statutory and constitutional authority in the state of Texas to bond finance demand management expenditures. Progressive cities such as Las Vegas, Seattle and New York City have used their enterprise revenue bonds to finance water conservation efforts on the private property of their customers on the basis that the efforts serve the public interest, have quantifiable water savings that extend for at least as long as the lifetime of the debt used to finance them, and are secured through some means, such as a conservation easement or contract with the property owner.

  - By scoring the strategies, the WTF gives the illusion of precision when we don’t have enough information to provide precise information on each of these strategies)

- Water Supply Recommendations

  - We believe that we may have a water supply emergency and that we need to take action to use our current supplies more efficiently as well as develop additional supplies.

  - Proactive Implementation on Drought Response Stages

    - We support the development and implementation of an Interim Stage 3 drought restriction and we encourage City Council and the utility to implement Stage 4 drought restrictions as soon as feasibly possible to preserve water supplies.  We recommend the implementation of Stage 3 Interim at no later than 500k af combined storage and Stage 4 at no later than 400 af combined storage

  - In general, we recommend that the City place a strong focus on implementing demand side strategies (strategies that reduce per person water use) before implementing supply-side options.  Using the supplies that we currently have as efficiently as possible is paramount to sustainably managing our water supplies whether in drought or out of drought.

    - Cost effective strategies that reduce water use should be a priority

    - Toilet replacement programs – there are a variety of programs contemplated by the utility that target toilet replacement

    - Require new facilities to Cooling towers and condensate from cooling towers

    - Limit Irrigated are in new development (similar to program implemented by Georgetown)

    - Invest in customer water report software or services that can realize greater customer water savings and more cost-effectively market Austin Water’s existing incentive programs. One example is WaterSmart Software, which has achieved a 5% reduction in total water demand in 6 months at the East Bay Municipal Utility District. The software gives customer’s personalized reports on relative water usage compared to neighbors and identifies opportunities for rebates they haven’t used. A third-party estimate pegged the cost of water saved through WaterSmart at a midpoint unit cost of $380 / acre-foot for email reports and $400 / acre-foot for written reports to customers.

    - Replacing the core of the reclaimed water system has the largest potential water supply impact of any demand-side strategies to better utilize existing water supplies

  - We recommend that the city pursue several water supply strategies as soon as possible.  These include but are not limited to…

  - Immediate Short Term Strategies

    - Automation of Longhorn Dam Gates – Immediately implement automation over manual operations.

    - Water Long Lake Off-Channel Storage – Explore and study enhanced storage option)

    - Lake Austin Varying Operating Level – Use public response as educational opportunity for water awareness.

    - Leak Detection – Continue and enhance efforts to reduce leaks from AWU infrastructure

  - Mid Term Strategies:  We expect that the city will study these options in more detail to fully evaluate their suitability for water supply solutions.

    - Decentralization – The decentralized concept is the idea that wastewater is most effectively and efficiently managed by treating it—and reusing it—as close to where it is generated as practical. Infrastructure failure and vulnerabilities are minimized while water resources utilization is maximized on a local and highly integrated level. The overall system becomes more reliable and is adaptable to a variety of future development scenarios.

    - Tiered implementation approach. Diversification of water supply sources should be achieved through integration of regional strategies identified in City and Region K water planning processes.  Begin with the end in mind.

    - Aquifer Storage and Recovery (Regional, Non-Edwards) – addresses issues present with other strategies, provides diversification, flexibility and long-term sustainability

  - Funding

  - The City should investigate alternate delivery mechanisms for future water supply projects.

# Comments

I would say decentralization applies not just to wastewater but to any type of water.

I think this will be in Lauren’s section.

This should be in guiding principles

Agreed, I think we cover this in other sections.

Not sure if we need this but I like it anyway….

One question we haven’t addressed: should we recommend that the City authorize any demand-side expenditure below a certain $/ac-ft? That is an explicit authorization at SAWS, where anything less than $400/ac-ft is authorized.

I believe LCRA should pay for any new supplies.  I have expressed this to the task force, but we have not voted on it yet.

If we want to include a funding section I suggest we also incorporate language on the opportunity for development to bring its own water, either through decentralized projects or through a conservation fund like what Santa Fe has done.