Section V.  Recommended Strategies for Study

During the course of evaluations by the Water Resource Planning Task Force (WRPTF), a number of strategies were considered that could potentially serve as sources of water within a long-term framework. These strategies would not likely provide water to the City for at least five years. Some benefits from employing these strategies are diversification of Austin’s water supply, minimal environmental impacts, and making use of groundwater and aquifers that are not being used to their fullest sustainable potential. The Task Force did not feel there was sufficient information to evaluate the costs and benefits of these approaches against each other, but did find there to be sufficient value in the diversification of Austin’s water supply and storage to merit further consideration and study. These strategies and a brief description are presented below (for full descriptions, see Appendix ____ : Water Supply Project Descriptions”:

·      Reclaimed Water Infiltration- recharge (injection) of treated wastewater into alluvial sediments along the Colorado River and pumping from alluvial sediments down-gradient.

·      Aquifer Storage and Recovery (ASR)- including in the Trinity Aquifer, brackish Edwards Aquifer, and Carrizo/Wilcox Aquifer. ASR been done successfully by San Antonio Water Systems (SAWS) and the cities of El Paso and Kerrville.

·      Desalination- brackish Edwards and Carrizo/Wilcox Aquifers. SAWS is currently constructing a large-scale desalination system.

Another strategy to be considered is flow augmentation at Barton Springs. This will not provide additional water, but will provide significant environmental benefits. The City of Austin is in a position to increase flow at Barton Springs during drought when low flow and decreased water quality threaten the endangered salamanders at the springs. This can be accomplished by providing water to Edwards Aquifer users during severe drought, providing water to recharge the aquifer, and purchasing groundwater production permits from Edwards Aquifer permittees. These actions would allow for more discharge of groundwater from Barton Springs, thereby improving the conditions for the salamanders and minimizing harm to the salamanders during severe drought.

The WRPTF recommends that the City give these strategies serious consideration and, where appropriate, conduct studies to evaluate their feasibility. In addition to a thorough engineering analysis, these strategies should be evaluated according to the Principles (Section II) and Decision Matrix (Appendix ____) provided in this report.